# GW Instek GSP-9300頻譜分析儀 頻譜圖功能DEMO

這次的演示是GSP-9300 頻譜分析儀的頻譜圖功能。

這 DEMO KIT是個ASK及FSK的信號產生器。此DEMO KIT有3種預設頻率，3種波特率及可設定輸出為連續或叢發模式。

架設方式：

- 連接DEMO KIT到GSP-9300前面板的USB接口

- 用SMA RF CABLE連接DEMO KIT輸出端到GSP-9300的輸入端。

儀器操作:

- 首先設定DEMO KIT的參數.

- 按Option Control鍵 > Demo Kit[F4]鍵>Demo Kit[F1]鍵*2次,啟動DEMO KIT.

- 按Modulation [F2]鍵, 選擇FSK[F2]鍵

- 按Frequency[F3]鍵,選擇433MHz[F2]鍵

- 按Deviation[F4]鍵,選擇50kHz[F2]鍵

- 按Baudrate[F5]鍵, 選擇波特率為9600[F2]鍵

- 按Output Mode[F6]鍵, 選擇 normal mode.

- DEMO KIT的參數設定結束.開始設定頻譜圖功能觀測FSK的信號.

- 按 Frequency 鍵> Center Freq[F1]鍵>4鍵>3鍵>3鍵> MHz[F2]鍵, 設定中心頻率為433MHz

- 按 Span鍵> Span[F1]鍵 >5鍵>0鍵>0鍵> kHz[F3]鍵, 設定頻段為500kHz

- 在頻譜分析儀上可以觀測到FSK信號.

- 按Display鍵>Windows Setup[F1]鍵>Spectrogram + Spectrum [F5],啟動Spectrogram功能

- 頻譜圖為可以同時顯示功率、頻率和時間的功能，可以追蹤頻率和功率隨時間的變化情形，特別是找出間歇出現的信號。用戶可以利用頻譜圖來分析信號相對於時間的穩定度，或是找出通訊系統中間歇出現的干擾信號。用戶可以運用兩個標記，找出功率相對於頻率和時間的關係。

- 按Spectrogram Marker[F1]鍵*2次> 啟動marker使spectrogram暫停運作。

- 按Ref[F2]>X Axis[F1]>2鍵>2鍵>8鍵>Enter[F1]鍵,設定參考標記頻率reference marker frequency

- 按Y Axis[F2]>1鍵>0鍵>0鍵>Enter[F1]鍵，設定參考標記時間reference marker time

- 可以看到參考標記的頻率，時間及振幅的資料

- 按Return[F7]

- 按Delta[F3]> X Axis[F1]>3鍵>5鍵>0鍵>Enter[F1]鍵,設定差値標記頻率delta marker frequency

- 按Y Axis[F2]>5鍵>0鍵>Enter[F1]鍵，設定差値標記時間delta marker time

- 可以看到差値標記的頻率，時間及振幅的資料

- 以上是GSP-9300 Spectrogram功能的介紹.

- 感謝您的收看

# GW Instek GSP-9300 Spectrum Analyzer Spectrogram Function DEMO

Now, I am going to demonstrate the Spectrogram function of GSP-9300 spectrum analyzer.

This demo kit is an ASK and FSK signal generator. In this demo kit, there are three preset frequency, three Baud rates and selectable continuous or burst output mode.

First of all, connect demo kit with the USB port located at the front panel of GSP-9300. Next, connect demo kit output terminal with GSP-9300 input terminal with SMA RF cable.

- To begin the operation, first, input demo kit parameters.

- Press option control key, demo kit (F4) key, demo kit (F1) key twice to activate demo kit

- Press modulation (F2) key and select FSK (F2) key

- Press frequency (F3) key and select 433 MHz (F2) key

- Press deviation (F4) key and select frequency deviation of 50kHz (F2) key

- Press Baud rate (F5) key and select baud rate of 9600 (F2) key

- Press output mode (F6) key and select normal mode

- This is the end of demo kit parameters input. Next, set up the Spectrogram function to observe FSK signals.

- Press frequency key, center freq (F1) key, input 4, 3, 3, MHz (F2) key to set center frequency as 433 MHz.

- Press span key, span (F1) key, input 5, 0, 0, kHz (F3) key to set frequency bandwidth as 500kHz.

- Now, 2FSK signals are shown on the screen.

- Press Display key, windows setup (F1), spectrogram + Spectrum (F5) to activate Spectrogram function.

- Spectrogram can simultaneously display power, frequency, and time. Frequency and power variation according to time changes can also be tracked. Especially, the intermittently appeared signals can be identified. Users, by using Spectrogram, can analyze the stability of signal versus time or identify the intermittently appeared interference signals in the communications system. Users can use two markers to find out the relation of power to frequency and time.

- Press Spectrogram marker (F1) twice to activate market and stop spectrogram operation.

- Press Ref (F2), X Axis (F1), input 2,2,8 and Enter to set reference marker frequency.

- Press Y Axis (F2), input 1,0,0 and Enter to set reference marker time.

- Now, reference marker frequency, reference market time and amplitude are shown on the screen.

- Press Return (F7)

- Press Delta (F3), X Axis (F1),input 3,5,0 and Enter to set delta marker frequency.

- Press Y Axis (F2), input 5,0 and Enter to set reference marker time.

- Now, delta marker frequency, time and amplitude are shown on the screen.

- This concludes the demonstration of GSP-9300 Spectrogram function.

- Thank you very much for your interest in GSP-9300.